## Sheet1
JarID: 12730
Target: ZNF42
Spectrometer: Brahms
Temperature: 30C (305 K)
Protein concentration: 2 mM
Data Directory | Experiment number | Experiment | O1 (Hz) | 1H increment (usec) | 1H carrier frequency indirect dim. (ppm) | 1H sweep width (Hz) | 1H acquisition mode | O2P (ppm) | 13C increment (usec) | 13C sweep width (Hz) | 13C acquisition mode | O3P (ppm) | 15N increment (usec) | 15N sweep width (Hz) | 15N acquisition mode | NOESY mixing time (msec) | NS | Time (hours) | Comments
060404.znf42 | 3 | 1D | 2825 | [13 empty] | 128
060404.znf42 | 10 | 15N HSQC | 2825 |  |  |  |  | 176 |  |  |  | 118 | 275 | 1818.1818 | Complex |  | 8 | 0.66
060404.znf42 | 11 | 3D HNCO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 2 | 5.66
060404.znf42 | 12 | 3D HNCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 4 | 10.5
060404.znf42 | 14 | 3D HNCOCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 2 | 5.66
060404.znf42 | 15 | 3D HNCACO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 4 | 10.75
060404.znf42 | 17 | 3D HNCACB | 2825 |  |  |  |  | 43 | 40 | 12500 | States-TPPI | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 8 | 18
060404.znf42 | 18 | 3D CCONH | 2825 |  |  |  |  | 43 | 40 | 12500 | Complex | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 4 | 14
060704.znf42 | 2 | 13C CT-HSQC aliphatic | 2825 |  |  |  |  | 43 | 80 | 6250 | Echo-AntiEcho | [5 empty] | 4 | 0.33
060704.znf42 | 3 | 13C CT-HSQC aromatic | 2825 |  |  |  |  | 127 | 100 | 5000 | Echo-AntiEcho | [5 empty] | 16 | 1.33
060704.znf42 | 4 | Aromatic HSQC | 2825 |  |  |  |  | 127 | 100 | 5000 | Complex | [5 empty] | 8 | 0.75
060704.znf42 | 6 | HCCH-TOCSY | 1800.39 |  | 3 | 5000 | Complex | 43 | 80 | 6250 | Complex | [5 empty] | 8 | 29.33
060704.znf42 | 8 | 3D HCCONH | 2825 |  |  |  |  | 43 |  |  |  | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 4 | 14
060904.znf42 | 1 | 13C NOESY aromatic | 2825 | 70 | same as H2O | 7142.8571 | Complex | 70 | 100 | 5000 | Complex |  |  |  |  | 80 | 4 | 18.5
061004.znf42 | 2 | 13C NOESY aliphatic | 2825 | 70 | same as H2O | 7142.8571 | Complex | 43 | 80 | 6250 | Complex |  |  |  |  | 80 | 4 | 25.66
061004.znf42 | 4 | 15N NOESY | 2825 | 70 | same as H2O | 7142.8571 | Complex | 70 |  |  |  | 118 | 275 | 1818.1818 | Complex | 80 | 4 | 23.5
061404.znf42 | 29 | 15N hetNOE | 2825 | [8 empty] | 118 | 275 | 1818.1818 | Echo-AntiEcho |  | 32 | 16
042305.znf42_mix | 3 | 13C Filtered/Edited-NOESY | 2825 | 70 | same as H2O | 7142.8571 | Complex | 43 | 80 | 6250 | Complex |  |  |  |  | 80 | 16 | 84
[17 empty] | Total Time= | 278.63
[17 empty] | Days= | 11.6096
Base Frequencies (MHz) | Brahms | Bartok
1H | 600.13 | 599.87
13C | 150.9024 | 150.8371
15N | 60.8106 | 60.7843